## Overview
Solar Feasibility Analysis for the Wesley United Methodist Church
Entry Section:
Overall System Cost Per Watt: | 8 | dollars / Watt
System Size: | 20000 | Watts
Solar Panels Manufactured in Massachusetts: | NO | YES / NO
Assumptions:
System Assumptions:
System Life Expectancy: | 25 | years
Yearly Performace Degraddation: | 0.5% | %
Efficiency of Solar Panels: | 15% | %
DC to AC derating factor: | 79.49% | %
Economic Assumptions:
REC Revenue per Watt: | 0 | dollars
REC Annual Cost Adjuster: | 4% | %
Yearly Energy Consumption: | 102000 | kWh
Cost of Electricity: | 0.16 | dollars
Electricity Cost Inflation: | 0.6% | %
Overall Inflation: | 3.29% | %
MTC Assumptions:
System Size: | 0 to 25 kW | 25 to 100 kW
Base Incentive: | 3.25 | 3
MA Component Adder: | 0.25 | 0.25
Incremental Capacity: | 20000 | 0
Calculations:
Raw System Cost: | 160000 | dollars
Rebate Amount: | 65000 | dollars
System Cost: | 95000 | dollars
Yearly Energy Generation: | 27248.0158 | kWh
First Year Energy Production Value: | 4359.6825 | dollars
Break Even Year: | 22 | years

## Energy Generation
Energy Generation Data
Efficiency of Solar Panels: | 15%
DC to AC derating factor: | 79.49%
System Efficiency: | 11.92%
Area Covered by Panels: | 133.3333 | m2
Mean Daily Irradiation per m2 |  |  | Days in Month: | Sun Zenith | Solar Panel Tilt | Irradiance | Energy Generation per Month:
January | 1.7 | kWh | 31 | 63 | 42 | 3.4959 | 1722.8921 | kWh
February | 2.49 | kWh | 28 | 55 | 42 | 4.2299 | 1882.9227 | kWh
March | 3.42 | kWh | 31 | 44 | 42 | 4.7515 | 2341.7016 | kWh
April | 4.35 | kWh | 30 | 32 | 42 | 5.0515 | 2409.2617 | kWh
May | 5.17 | kWh | 31 | 28 | 42 | 5.6815 | 2800.038 | kWh
June | 5.58 | kWh | 30 | 20 | 42 | 5.5057 | 2625.8988 | kWh
July | 5.67 | kWh | 31 | 22 | 42 | 5.7465 | 2832.091 | kWh
August | 5.04 | kWh | 31 | 29 | 42 | 5.6148 | 2767.1927 | kWh
September | 3.91 | kWh | 30 | 40 | 42 | 5.101 | 2432.8868 | kWh
October | 2.78 | kWh | 31 | 52 | 42 | 4.4469 | 2191.5857 | kWh
November | 1.8 | kWh | 30 | 61 | 42 | 3.5105 | 1674.307 | kWh
December | 1.46 | kWh | 31 | 65 | 42 | 3.18 | 1567.2377 | kWh
Yearly Energy Generation: | 27248.0158 | kWh
Yearly Energy Production:
Year: | Energy Generated: |  | Yearly Energy Savings
1 | 27248.0158 | kWh | 4359.6825
2 | 27111.7758 | kWh | 4507.4841
3 | 26976.2169 | kWh | 4660.2964
4 | 26841.3358 | kWh | 4818.2894
5 | 26707.1291 | kWh | 4981.6386
6 | 26573.5935 | kWh | 5150.5257
7 | 26440.7255 | kWh | 5325.1384
8 | 26308.5219 | kWh | 5505.6708
9 | 26176.9793 | kWh | 5692.3235
10 | 26046.0944 | kWh | 5885.3042
11 | 25915.8639 | kWh | 6084.8273
12 | 25786.2846 | kWh | 6291.1146
13 | 25657.3532 | kWh | 6504.3954
14 | 25529.0664 | kWh | 6724.9068
15 | 25401.4211 | kWh | 6952.894
16 | 25274.4139 | kWh | 7188.6104
17 | 25148.0419 | kWh | 7432.3181
18 | 25022.3017 | kWh | 7684.2879
19 | 24897.1902 | kWh | 7944.7999
20 | 24772.7042 | kWh | 8214.1439
21 | 24648.8407 | kWh | 8492.619
22 | 24525.5965 | kWh | 8780.5351
23 | 24402.9685 | kWh | 9078.212
24 | 24280.9537 | kWh | 9385.9808
25 | 24159.5489 | kWh | 9704.1835

## NPV Calculation
Year | PVIF | Energy Savings | REC Income | Cash Flow | Present Value Cash Flow | Running Total Cash Flow | Sum of PV Cash Flow minus System Cost | Break Even Year
1 | 1 | 4359.6825 | 0 | 4359.6825 | 4359.6825 | 4359.6825 | -90640.3175 | 1
2 | 0.96815 | 4507.4841 | 0 | 4507.4841 | 4363.9114 | 8723.594 | -86276.406 | 2
3 | 0.93731 | 4660.2964 | 0 | 4660.2964 | 4368.1444 | 13091.7384 | -81908.2616 | 3
4 | 0.90746 | 4818.2894 | 0 | 4818.2894 | 4372.3815 | 17464.1199 | -77535.8801 | 4
5 | 0.87855 | 4981.6386 | 0 | 4981.6386 | 4376.6227 | 21840.7426 | -73159.2574 | 5
6 | 0.85057 | 5150.5257 | 0 | 5150.5257 | 4380.8681 | 26221.6107 | -68778.3893 | 6
7 | 0.82347 | 5325.1384 | 0 | 5325.1384 | 4385.1175 | 30606.7282 | -64393.2718 | 7
8 | 0.79725 | 5505.6708 | 0 | 5505.6708 | 4389.3711 | 34996.0992 | -60003.9008 | 8
9 | 0.77185 | 5692.3235 | 0 | 5692.3235 | 4393.6287 | 39389.728 | -55610.272 | 9
10 | 0.74727 | 5885.3042 | 0 | 5885.3042 | 4397.8906 | 43787.6186 | -51212.3814 | 10
11 | 0.72346 | 6084.8273 | 0 | 6084.8273 | 4402.1565 | 48189.7751 | -46810.2249 | 11
12 | 0.70042 | 6291.1146 | 0 | 6291.1146 | 4406.4266 | 52596.2017 | -42403.7983 | 12
13 | 0.67811 | 6504.3954 | 0 | 6504.3954 | 4410.7008 | 57006.9025 | -37993.0975 | 13
14 | 0.65651 | 6724.9068 | 0 | 6724.9068 | 4414.9792 | 61421.8818 | -33578.1182 | 14
15 | 0.6356 | 6952.894 | 0 | 6952.894 | 4419.2618 | 65841.1435 | -29158.8565 | 15
16 | 0.61536 | 7188.6104 | 0 | 7188.6104 | 4423.5484 | 70264.692 | -24735.308 | 16
17 | 0.59575 | 7432.3181 | 0 | 7432.3181 | 4427.8393 | 74692.5313 | -20307.4687 | 17
18 | 0.57678 | 7684.2879 | 0 | 7684.2879 | 4432.1343 | 79124.6655 | -15875.3345 | 18
19 | 0.55841 | 7944.7999 | 0 | 7944.7999 | 4436.4335 | 83561.099 | -11438.901 | 19
20 | 0.54062 | 8214.1439 | 0 | 8214.1439 | 4440.7368 | 88001.8358 | -6998.1642 | 20
21 | 0.5234 | 8492.619 | 0 | 8492.619 | 4445.0443 | 92446.8801 | -2553.1199 | 21
22 | 0.50673 | 8780.5351 | 0 | 8780.5351 | 4449.356 | 96896.2361 | 1896.2361 | 22
23 | 0.49059 | 9078.212 | 0 | 9078.212 | 4453.6719 | 101349.908 | 6349.908 | 22
24 | 0.47496 | 9385.9808 | 0 | 9385.9808 | 4457.9919 | 105807.8999 | 10807.8999 | 22
25 | 0.45983 | 9704.1835 | 0 | 9704.1835 | 4462.3162 | 110270.2161 | 15270.2161 | 22
22