## Sheet1
Estimates
| WAM Paid Price per kWh……… | …………………………… | ……………………… | 0.15
| Estimated Price per W of Array w/ Parking Lot Frame Structure……………… |  |  | 8.5
| Array Efficiency Factor (AEF)……. | …………………………… | ……………………… | 1.25
e.g. Worcester State Efficiency Factor: produces 131770 kWh/year per 105kW array: 131,770/105,000 = 1.25495
NOTES
1. All estimates are based on constant energy prices and constant panel efficiency.
2. Cost per Watt is a "best fit" approximation assuming minimum cost of $7.50 for a 200kW array, and a cost of $7.85 for a 100kW array, mirroring Worcester State costs.
Baseline Costs, Grants, and Payback Periods for Arrays of Varying Sizes
Costs/Payback
| System Size (kW) | Cost per Watt | Array Cost | Potential kWh Produced Anually | Annual Cost of Energy Saved | Payback Period (Years)
| 10 | 8.165 | 81650 | 12500 | 1875 | 43.5467
| 25 | 8.1125 | 202812.5 | 31250 | 4687.5 | 43.2667
| 50 | 8.025 | 401250 | 62500 | 9375 | 42.8
| 75 | 7.9375 | 595312.5 | 93750 | 14062.5 | 42.3333
| 100 | 7.85 | 785000 | 125000 | 18750 | 41.8667
| 125 | 7.7625 | 970312.5 | 156250 | 23437.5 | 41.4
| 150 | 7.675 | 1151250 | 187500 | 28125 | 40.9333
| 175 | 7.5875 | 1327812.5 | 218750 | 32812.5 | 40.4667
| 200 | 7.5 | 1500000 | 250000 | 37500 | 40
Payback w/ Grant
| System Size (kW) | CWSRP 1 Grant Calculator (see "Calculator" sheet tab) | CWSRP 2 Grant Adjustment (15% less than calculator amount, used for all further calculations) | Funding per Watt | Percent Subsidized | Unsubsidized Costs | Payback Years (w/ Rebate)
| 10 | 29000 | 24650 | 2.465 | 30.19% | 57000 | 30.4
| 25 | 72500 | 61625 | 2.465 | 30.39% | 141187.5 | 30.12
| 50 | 137500 | 116875 | 2.3375 | 29.13% | 284375 | 30.3333
| 75 | 202500 | 172125 | 2.295 | 28.91% | 423187.5 | 30.0933
| 100 | 267500 | 227375 | 2.2738 | 28.96% | 557625 | 29.74
| 125 | 315000 | 267750 | 2.142 | 27.59% | 702562.5 | 29.976
| 150 | 362500 | 308125 | 2.0542 | 26.76% | 843125 | 29.9778
| 175 | 410000 | 348500 | 1.9914 | 26.25% | 979312.5 | 29.8457
| 200 | 457500 | 388875 | 1.9444 | 25.93% | 1111125 | 29.63
WAM PV Option Calculator
| Garland estimates: |  | OPTION 1 (sq.ft.) | OPTION 2 (sq.ft.) | OPTION 3 (sq.ft.) (includes Parking Lot)
| 250kW per Acre |  | 6100 | 11200 | 12400
| 1500 Panels per Acre |  | 3900 | 3900 | 11200
3900
|  | Sq.ft. per Option | 10000 | 15100 | 27500
| 250 kW / 43,560 sq.ft. | kW per Option | 57.3921 | 86.6621 | 157.8283
| 1500 panels / 43,560 sq.ft. | Panels per Option | 344.3526 | 519.9725 | 946.9697
WAM PV Option Breakdown
Costs/Payback
Option | System Size (kW) | Cost per Watt (est.) | Array Cost | Potential kWh Produced Anually | Annual Cost of Energy Saved | Payback Period (Years)
1 | 57 | 8.0005 | 456028.5 | 71250 | 10687.5 | 42.6693
2 | 87 | 7.8955 | 686908.5 | 108750 | 16312.5 | 42.1093
3 | 158 | 8.5 | 1343000 | 197500 | 29625 | 45.3333
Payback w/ Grant
| CWSRP 1 Calc. | CWSRP 2 Adj. | Funding per Watt | Percent Subsidized | Unsubsidized Costs | Payback Years (w/ Rebate)
1 | 155700 | 132345 | 2.3218 | 29.02% | 323683.5 | 30.2862
2 | 233700 | 198645 | 2.2833 | 28.92% | 488263.5 | 29.9319
3 | 324500 | 275825 | 1.7457 | 20.54% | 1067175 | 36.0228
[5 empty] | 10 | 2.465
[5 empty] | 25 | 2.465
[5 empty] | 50 | 2.3375
[5 empty] | 75 | 2.295
[5 empty] | 100 | 2.2738
[5 empty] | 125 | 2.142
[5 empty] | 150 | 2.0542
[5 empty] | 175 | 1.9914
[5 empty] | 200 | 1.9444

## Calculator
Commonwealth Solar Commercial Solar Photovoltaic Calculator (10/08/09)
Commercial: Commonwealth Solar Rebate Matrix ($/watt dc)
Incremental Capacity |  |  | 1 to 25 kW (1,000 to 25,000 watts) | > 25 to 100 kW | > 100 kW to 200 kW
|  | Base Incentive ($/watt dc) | 2 | 1.7 | 1
PLUS: Additions to Base
|  | MA-Manufactured Components | 0.15 | 0.15 | 0.15
|  | Public Building OR Affordable Housing Adder | 0.75 | 0.75 | 0.75
|  | Green Schools Adder | 2.15 | 0 | 0
Commercial: Commonwealth Solar Rebate Calculator
Total PV Project Cost |  |  | 652500 | 1
Total PV Project Size (watts dc) |  |  | 87000
Total PV Project Size for Rebate Calculation (200 kW cap) |  |  | 87000
|  | MA-manufactured components | YES | NO
|  | Public Building Adder OR Affordable Housing Adder | YES | YES
|  | Green Schools Adder | NO
Rebate ($) |  |  | 233700
Rebate ($/watt dc) based on total project size |  |  | 2.6862
Key
Entry Cells
Calculation Cells (not for Entry)
|  | Incremental Capacity | 25000 | 62000 | 0 | 0 | 87000
|  | Base Incentive | 50000 | 105400 | 0 | 0 | 155400
|  | MA-Manufactured Adder | 3750 | 9300 | 0 | 0 | 13050
|  | Public Building Adder | 18750 | 46500 | 0 | 0 | 65250
|  | Green Schools Adder | 0 | 0 | 0 | 0 | 0
|  | Total | 72500 | 161200 | 0 | 0 | 233700