## Slide 1
Improving Digital Twin Usage to Reduce Energy Inefficiencies
Arturo Figueredo
James Nguyen
Rolando Salamea-Lopez
Ryan Tonry
Notes: Good afternoon, everyone!
We are students at the Worcester Polytechnic Institute located in Worcester MA
  James
  Arturo
  Ryan
  Rolando
We’re here on a research project studying the Digital Twin technology and energy reduction in the Sheila Scott building

## Slide 2
Digital Twin Usage Provides Insightful Data Analysis

## Slide 3
Digital Model of the Entity
3
2
4
5
1
Collect Real Time Data
Autonomous Digital Twin
Collect Historical Data
Integrate Third Party Sources
Digital Twins Have Many Levels of Sophistication

## Slide 4
HoloLens Technology Aids Information Visualization

## Slide 5
Digital Twin Technology Can Create Positive Change
Automatic meter readings system
Integrate weather station data
Lighting control system
Environmental heating system controller

## Slide 6
Sheila Scott Building as the Test Pilot For Digital Twin Technology
Notes: Digital Twins are being implemented in universities worldwide to understand the energy behavior of a building, and to optimize or reduce its energy consumption.
The University of Worcester is aiming to maintain energy efficiency of the entire campus with the goal net zero carbon by 2030. and here is where the idea of the Digital twin technology comes alive. Where... In the Sheila Scott building
The Sheila Scott building is located at the University of Worcester’s St. John’s campus and is the site of a digital twin pilot.
This building is known as the Clinical Skills and Simulation Center.
and is used to educate students through realistic simulations. Some of the programs that the University holds in this building include Paramedic Science, Nursing, and Occupational therapy.
The Sheila Scott building is been using the Digital twin technology for almost a year and they are currently in the third stage which is collecting data in real time.
How are they collecting data well...? Next slide and explain sensors ubication.
The university of

## Slide 7
Sheila Scott Building Layout & Contrasting Room Characteristics
W
E
N
S
Notes: The Sheila Scott Building currently has 7 types of sensor and 37 sensors in total from the north side to the south side of the building.
They are located in specific areas of the building to ensure accurate (aquiuret) measurement depending on sensors that’s been used
The two type of sensor that are more important are the air quality that measure the CO2 level (10 which are red dot) humidity and CO2, and the occupancy (O'-qiupanci) sensor (measure every hour to every minute to every second) (15 which are the green dot) that mainly use in room where lectures are been held, 5 people counter sensors that register the among of people circulating in the building, and some smart thermostats sensors.
Every day every hour, every minute, every second
After analyzing the data from the Sheila Scott building and the digital twin pilot, we established our project goal.

## Slide 8
The goal of this project is to utilize the digital twin model to identify energy inefficiencies and key human interaction factors in the University of Worcester.
Notes: Utilize (iurulais)

## Slide 9
Understand the design and the use of the digital twin model
3
2
4
1
Identify energy inefficiencies in the Sheila Scott building
Create recommendations on how to advance digital twin model
Understand the behavior of the Sheila Scott building’s users.
Objectives
Notes: In order to implement this technology, we wan to carry out theses objective.
to achieve theses objectives through

## Slide 10
Understand the design and the use of the digital twin model
3
2
4
1
Identify energy inefficiencies in the Sheila Scott building
Create recommendations on how to advance digital twin model
Understand the behavior of the Sheila Scott building’s users.
Research Methodology
Notes: In order to implement this technology, we wan to carry out theses objective.

## Slide 11
3
2
4
1
Research Methodology
Understand the design and the use of the digital twin model
Identify energy inefficiencies in the Sheila Scott building
Create recommendations on how to advance digital twin model
Understand the behavior of the Sheila Scott building’s users.
Observations of Sheila Scott Building
Interview Users and University Personnel
Notes: Now to accomplished/achieve these objectives
We Interview building users and university personal
We observe users' behavior in the Sheila Scott
We consult the Heat Decarbonization plan
And we review the information collected from the sensors
For the observation (we look for any detail that the sensor cant pick )
Now I'll bring back to James that he's going talk about our finding

## Slide 12
3
2
4
1
Research Methodology
Understand the design and the use of the digital twin model
Identify energy inefficiencies in the Sheila Scott building
Create recommendations on how to advance digital twin model
Understand the behavior of the Sheila Scott building’s users.
Interview Users and University Personnel
Review Sensor Data
Consult Heat Decarbonization Plan
Observations of Sheila Scott Building
Notes: Now to accomplished these objectives
We Interview building users and university personal
We observe users' behavior in the Sheila Scott
We consult the Heat Decarbonization plan
And we review the information collected from the sensors
Now I'll bring back to James that he's going talk about our finding

## Slide 13
Findings
Notes: After interviewing students, professors, technicians, and timetabling staff, we’ve become more familiar with the innerworkings of the timetabling system
We learned that as professor, you must set your classroom reservations up to a year in advance
This is before you learn your class size, class time, and most importantly your course material
And after all this, your reservation isn’t even guaranteed
To combat this, professors are reserving multiple classrooms at the same time for long hours to ensure they get their preferred time slot
Moreover, the timetabling system doesn’t just affect professors or students
Because teachers requesting, and sometimes receiving all their requested classrooms, lab technicians have to operate on a day-by-day basis on classroom setup
Let’s travel back in time to 12 months ago
  You’re a professor who’s currently teaching class
  You are asked to prepare for the following academic year
  You have no student head count on the class, very little material prepared, and no inclination on everyone’s schedules
  Now you must reserve a room for the entire academic year…now
  And you’re not guaranteed your room reservation, so you reserve multiple to combat the lottery system
  This is the reality of the University’s timetabling system and why a lot of energy is wasted with the heating of these quote unquote reserved rooms
Now this current timetabling system doesn’t just affect university professors or students...it affects the Sheila Scott building’s technician staff
  Instead of being able to prepare for a class weeks or even days in advance, it operates on a day-by-day basis since the reservation schedules don’t accurately reflect classroom occupancy

## Slide 14
1) Are Rooms Consistently Within University Temperature Guidelines?
20°C
18°C
19°C

## Slide 15
2) What Rooms are Problematic in the Sheila Scott?
21°C
16°C
19°C

## Slide 16
Digital Twin Technology Reveals Energy Inefficiencies
21°C
16°C
19°C

## Slide 17
Heat Retention is Significantly Impacted by the Infrastructure

## Slide 18
The HVAC System with Human Factors can Lead to Energy Waste
21°C
16°C
19°C

## Slide 19
21°C
16°C
19°C
The HVAC System with Human Factors can Lead to Energy Waste

## Slide 20
21°C
16°C
19°C
The HVAC System with Human Factors can Lead to Energy Waste

## Slide 21
21°C
16°C
19°C
The HVAC System with Human Factors can Lead to Energy Waste

## Slide 22
The HVAC System with Human Factors can Lead to Energy Waste

## Slide 23
Recommendations
Notes: After interviewing students, professors, technicians, and timetabling staff, we’ve become more familiar with the innerworkings of the timetabling system
We learned that as professor, you must set your classroom reservations up to a year in advance
This is before you learn your class size, class time, and most importantly your course material
And after all this, your reservation isn’t even guaranteed
To combat this, professors are reserving multiple classrooms at the same time for long hours to ensure they get their preferred time slot
Moreover, the timetabling system doesn’t just affect professors or students
Because teachers requesting, and sometimes receiving all their requested classrooms, lab technicians have to operate on a day-by-day basis on classroom setup
Let’s travel back in time to 12 months ago
  You’re a professor who’s currently teaching class
  You are asked to prepare for the following academic year
  You have no student head count on the class, very little material prepared, and no inclination on everyone’s schedules
  Now you must reserve a room for the entire academic year…now
  And you’re not guaranteed your room reservation, so you reserve multiple to combat the lottery system
  This is the reality of the University’s timetabling system and why a lot of energy is wasted with the heating of these quote unquote reserved rooms
Now this current timetabling system doesn’t just affect university professors or students...it affects the Sheila Scott building’s technician staff
  Instead of being able to prepare for a class weeks or even days in advance, it operates on a day-by-day basis since the reservation schedules don’t accurately reflect classroom occupancy

## Slide 24
Short Term Recommendations
Improved Heat Retention
Heat Pipe Insulation
Window Insulation
Building Technology Upgrades

## Slide 25
Post-Processing for Streamlined Data Storage & Visualization

## Slide 26
Create Accessible Digital Twin Visualization

## Slide 27
Slow Implementation of the Digital Twin

## Slide 28: Acknowledgements
Richard Vaz
Global School Professor
Fred J. Looft
Professor
Linda Carre Looft
Professor
Katy Boom
Director of Sustainability
Simon Dutton
Service Development Manager
Dr Andrew Tomlinson
Senior Lecture Department of Computing
And the Allied Health and Community Lectures, Clinical Skills Technicians, Estates and Facilities, Registry Services, Information Technology Staff
Thank You!​

## Slide 29
Thank You!​
Notes: Good evening, everyone!
We are students at the Worcester Polytechnic Institute located in Worcester MA
  James
  Arturo
  Ryan
  Rolando
We’re here on a research project studying the Digital Twin technology in the Sheila Scott building